## Slide 1
1
Lecture 19
Nov 1, 2023

## Slide 2
2
Proportional Temperature Controller
Thermocouple as temperature sensor
Heater voltage as 100V DC/5A
Why proportional temperature controller ?
Drawback of On/OFF controller:
Temperature is Low  Heater ON
Temperature is High  Heater OFF
In proportional controller the heater voltage Error
(

## Slide 3
3
Thermocouple as Temp sensor
Thermocouple
Heater
Output,

## Slide 4
4
Single junction thermocouple
(ICE)
Two junction thermocouple
Single junction thermocouple
Ambient
Voltage at 2 and 3 =
= (100-25)×40
= 3 mV
Drawback:
If ambient temperature changes then the output voltage will change

## Slide 5
5
Single junction thermocouple
Single junction thermocouple
Ambient
Voltage at 2 and 3 =
= (100-50)×40
= 2 mV
Drawback:
Suppose ambient temperature changed to 50
Hence we need to compensate the ambient temperature

## Slide 6
6
Ambient temperature measurement
Single junction thermocouple
Ambient
Ambient temperature must be measured using another sensor LM335
LM335
Output

## Slide 7
7
Ambient temperature measurement
Single junction thermocouple
Ambient
Once you measure ambient temperature of the block then you can find the actual temperature,
LM335
Output
Thermocouple voltage =

## Slide 8
8
Ambient temperature measurement
Single junction thermocouple
Ambient
LM335
Output
-15V
+15V

## Slide 9
9
Output voltage corresponding to temp.
Single junction thermocouple
Ambient
LM335
-15V
+15V
+15V
-15V
741

## Slide 10
10
Output voltage corresponding to temp.
Single junction thermocouple
Ambient
LM335
-15V
+15V
+15V
-15V
741
+15V
2.5V
-15V
+15V
R
R
R
-15V
+15V
R

## Slide 11
11
Set temperature different from actual temp
-15V
+15V
R
-15V
+15V
R
+15V
8.2V
7V
Heater
8.2mV
Set temp = 100
Actual temperature = 100-8.2=91.8
gain=1000

## Slide 12
12
If environmental Temp changed to 50
Thermocouple
Heater
-15V
+15V
R
-15V
+15V
R
+15V
5.2V
4V
5.2mV
gain=1000
Drawback
100
Because environment temp is 50C
Actual temp=100-5.2=94.8