## Slide 1
1
Lecture 20
Nov 3, 2023

## Slide 2
2
Proportional (P)+ Integrated(I) Temp Controller
+15V
Amplifier
+15V
Heater
Problem of this temperature controller
1) Set temperature Actual Temperature
2) Error voltage x Gain = Heater voltage
Error Voltage

## Slide 3
3
PI Temp Controller removes errors
+15V
-15V
+15V
Heater
C
R
R
R
R
100KΩ
1KΩ

## Slide 4
4
Control Theory: Electrical equivalent of PI controller
g
Time constant of system
(100seconds)
Time constant of sensor
(1s)
Pole frequency,
Condition for NOT oscillation
Temperature gain
Phase shift 90°
Phase shift 90°
Phase shift 180°
Total Phase shift 360°

## Slide 5
5
How to convert temp gain  Electronic gain
Thermocouple
Heater
+15V
Drawback
5V  50
6V  55
1V heater  5 temp rise
temp rise  gives 10mV from sensor

## Slide 6
6
PI Temp Controller removes errors
+15V
-15V
+15V
Heater
C
R
R
R
R
100KΩ
1KΩ
change should produce 20V change at the heater 100C change

## Slide 7
7
PID Temp Controller removes errors
+15V
-15V
+15V
Heater
C
R
R
R
100KΩ
1KΩ
R
R